## Instructions & Bidder Info
ATTACHMENT 8 - APPENDIX Z FEE SCHEDULE
FEE SCHEDULE PROPOSAL
Audio Visual System Upgrade
BID #2026-46-IT
Bidder _____________________________________________________ | Contact ________________________________________________
DBA, if any __________________________________________________ | Title __________________________________________________
Federal ID # _________________________________________________ | Email Address ___________________________________________
Type of Firm _________________________________________________ | Telephone # ____________________________________________
Address ____________________________________________________ | Fax # _________________________________________________
____________________________________________________ | Web Address ____________________________________________
Bid prices shall be “all inclusive”. All prices shall include all direct and indirect costs, including, but not limited to, direct labor costs, overhead, fee or profit, clerical support, equipment, materials, supplies, managerial (administrative) support, system maintenance, system trouble shooting and modifications, all documents, reports, forms, reproduction and any other costs. Bidders must provide a detailed accounting of their bid to include costs for each specified trade overhead, profit, insurance, bond costs, permits and licenses, equipment, materials and labor as part of the Appendix Z Fee Schedule submission. This breakdown must be provided using Attachment 6, “Appendix Z Fee Schedule Supplemental” (Excel). Bidders are not to change, delete, or make any additions to this form, and are to supply only the bid information that is required. If any changes, deletions, or additions are made by the bidder, or if all of the required bid information is not provided, then at NYSIF's discretion, the bid may be disqualified. A 5% withheld retainage will be applicable. The 5% retainage will be released as a lump sum payment, after (1) all claims and damages (if any) are settles, (2) satisfaction and approval of NYSIF’s engineering firm, and (3) NYSIF has accepted the completion of the project. The Fee Schedule (Appendix Z) also includes a 20% contingency. The contingency is available to cover the cost of additional labor and materials for field change orders and/or contingent actives within the scope of the Contract. NYSIF does not guarantee that any or all of the contingency will be expended during the Contract term and will be utilized ONLY with NYSIF’s written approval. See Section 2.4 of the IFB for more information.
The equipment list outlines major components and equipment but it not a complete "bill of materials". The AV Systems Contractor is responsible for confirming quantities, completeness, and accuracy before submitting a bid. Any formula errors or cost discrepencies in the provided spreadsheet are the Contractor's responsibility. Device colors, accessories, projector lenses, and display sizes must be confirmed with the Consultant and Architect before ordering. The Contractor must verify that all AV equipment models are current and the latest available at the time of ordering, notifying the Consultant about newer models if applicable. The AV Contractor must coordinate with the Owner's IT department to integrate video codecs and conferencing systems with existing infrastructure.

## SOV
NYSIF
199 Church Street - Floor 15
New York, NY
SCHEDULE OF VALUES
03.25.2026
For Bid
Schedule of Values | Cost | Unit
Division 1 General Requirements | 0 | N/A
Division 2 Site Construction | 0 | N/A
Division 3 Concrete | 0 | N/A
Division 4 Masonry | 0 | N/A
Division 5 Metals | 0 | N/A
Division 6 Woods and Plastics | 0 | N/A
Division 7 Thermal and Moisture Protection | 0 | N/A
Division 8 Doors and Windows | 0 | N/A
Division 9 Finishes | 0 | N/A
Division 9.1 Stretch-Fabric Wall System. | 0 | N/A
Division 10 Specialties | 0 | N/A
Division 12 Furnishing | 0 | N/A
Division 13 Special Constructions | 0 | N/A
Division 26 Electrical | 0 | N/A
Division 27 Communications | 0 | N/A
Division 27.1 Equipment List/Bid Form | 0 | N/A
Base Bid Total | 0 | N/A
Division 7.1 Unit Price – Concrete Firestopping Enclosure and Penetration Firestopping Material per square foot (SF) up to 100 SF. This cost will be apart of, but not added to, the Contingency percentage cost. | 0 | /SF
Division 9.2 Unit Price - ACT ceiling tile replacement due to damage or non-reusable materials up to 25 Tiles. This cost will be apart of, but not added to, the Contingency percentage cost. | 0 | /25 Tiles
Division 27.2 Alternate A – 0.9 mm LED Screen. | 0 | N/A
DDivision 27.3 Alternate B – Displays, Conference Room B | 0 | N/A
Division 27.4 Alternate C – Shades, Auditorium | 0 | N/A
Contingency (Refer to IFB for percentage) | 0 | N/A
1. General Contractor, Electrical Contractor, and Audio-Visual Contractor shall thoroughly review all construction documents and specifications and understand the scope and design intent as part of the bid process.
2. Each Contractor shall provide and install all components and materials as needed for complete and working systems.
3. It is the submitting Contractor's responsibility to review and confirm any formulas provided in the excel spreadsheet prior to submitting bid documents. Costing discrepancies as a result of excel formula errors will be the responsibility of the Contractor.

## AV Summary
Insert AV Bidder Logo and Information
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
For Bid
Room Type | Equipment Sub-total | Taxes (EXEMPT) | Non-Equipment Cost | Cost per Room | Quantity | Extended Cost | Room Numbers
Conference Room A | 0 | EXEMPT | 0 | 0 | 1 | 0 | 5
Conference Room B | 0 | EXEMPT | 0 | 0 | 1 | 0 | 3
Training Rooms 1 and 2 | 0 | EXEMPT | 0 | 0 | 2 | 0 | 6, 2
Auditorium | 0 | EXEMPT | 0 | 0 | 1 | 0 | 7
[5 empty] | Total BASE Project Cost (Excluding Year 1 Warranty and Service) | 0
ADD ALTERNATES
Room Type | Equipment Sub-total | Taxes (EXEMPT) | Non-Equipment Cost | Cost per Room | Quantity | Extended Cost | Room Numbers
ADD ALTERNATE - Auditorium - 0.9mm LED | 0 | EXEMPT | 0 | 0 | 1 | 0 | 7
ADD ALTERNATE - DISPLAYS, Conference Room B | 0 | EXEMPT | 0 | 0 | 1 | 0 | 3
ADD ALTERNATE - Shades, Auditorium | 0 | EXEMPT | 0 | 0 | 1 | 0 | 7
|  |  |  | Warranty and Service Year 1 |  | 0
|  |  |  | Warranty and Service Year 2 |  | 0
|  |  |  | Warranty and Service Year 3 |  | 0
|  |  |  | Warranty and Service Year 4 |  | 0
|  |  |  | Warranty and Service Year 5 |  | 0
(Provide Add'l Documentation to Clearly Indicate Warranty and Service Terms Priced)
1. This equipment list specifies major systems components and equipment, and should not be interpreted as a "bill of materials". This list may not detail all equipment required for complete, working systems. It is the AV Systems Contractor's responsibility to provide complete, working systems regardless of the completeness of this list.
2. It is the AV Systems Contractor's responsibility to review and confirm any formulas provided in the excel spreadsheet prior to submitting bid documents. Costing discrepancies as a result of excel formula errors will be the responsibility of the AV Systems Contractor.
3. All device colors, accessory options and display sizes and projector lenses are to be confirmed with Consultant and Architect prior to ordering.
4. AV Systems Contractor is required to review all AV equipment models at the time of ordering to ensure that all models are the latest available and the newest generation of equipment from the manufacturers. If newer or next generation model is available at the time of ordering, AV Contractor is to notify Consultant for possible replacement of specified model.
5. AV Contractor to coordinate and work with Owner IT department to register video codec to existing or new owner VCS, VCS Expressway, MCU, and any other relevant systems as required to fully integrate this facility into owner video conferencing environment.

## ELEC Summary
Insert AV Bidder Logo and Information
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
04.20.2026
For Bid
Room Type | Electrical Sub-Total | Taxes (EXEMPT) | Additional Costs | Cost per Room | Quantity | Extended Cost | Room Numbers
Conference Room A | 0 | EXEMPT | 0 | 0 | 1 | 0 | 5
Conference Room B | 0 | EXEMPT | 0 | 0 | 1 | 0 | 3
Training Rooms 1 and 2 | 0 | EXEMPT | 0 | 0 | 2 | 0 | 6, 2
Auditorium | 0 | EXEMPT | 0 | 0 | 1 | 0 | 7
[5 empty] | Total BASE Project Cost (Excluding Year 1 Warranty and Service) | 0
ADD ALTERNATES
Room Type | Electrical Sub-Total | Taxes (EXEMPT) | Additional Costs | Cost per Room | Quantity | Extended Cost | Room Numbers
ADD ALTERNATE - Auditorium - 0.9mm LED | 0 | EXEMPT | 0 | 0 | 1 | 0 | 7
ADD ALTERNATE - DISPLAYS, Conference Room B | 0 | EXEMPT | 0 | 0 | 1 | 0 | 3
ADD ALTERNATE - Shades, Auditorium | 0 | EXEMPT | 0 | 0 | 1 | 0 | 7
1. The Contractor shall thoroughly review all construction documents and specifications and understand the scope and design intent as part of the bid process.
2. The Electrical Contractor shall provide and install all components and materials as needed for complete, working systems.
3. It is the Contractor's responsibility to review and confirm any formulas provided in the excel spreadsheet prior to submitting bid documents. Costing discrepancies as a result of excel formula errors will be the responsibility of the Contractor.
4. All device colors and finishes are to be confirmed with Consultant and Architect prior to ordering.

## ConfA
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
Conference Room A
For Bid
Item | Description | Manufacturer | Model | Unit Cost | Qty. | Ext. Cost
Display Devices and Mounting Equipment
1 | Ceiling Recessed Motorized Projection Screen | Existing to Remain | Existing to Remain | - | 1 | -
2 | WUXGA 10000 Lumen Laser Video Projector | Epson | EB-PU2010B | 0 | 1 | 0
3 | WUXGA 10000 Lumen Laser Video Projector - Lens | Epson | ELPLM15 | 0 | 1 | 0
4 | Ceiling Projector - Mount | Chief | RPAU | 0 | 1 | 0
4 | Ceiling Projector - Mount - REUSE EXISTING POLE | Existing to Reuse - Chief | Existing to Reuse - Chief | 0 | 1 | 0
Media Input / Routing / Processing Equipment
1 | Codec Connection Extension to Table Kit [HDMI Only - BYOM Mode at Resident PC] | SCT | RTK Plus | 0 | 1 | 0
2 | DM Lite HDMI Transmitter [Codec to Projector] | Crestron | HD-TXC-4KZ-101 | 0 | 1 | 0
3 | DM Lite HDMI Receiver [Codec to Projector] | Crestron | HD-RXC-4KZ-101 | 0 | 1 | 0
4 | Resident Room PC with Wireless KB . Mouse [In Rack - Connect to Codec via USB-C] | OFE | OFE | - | 1 | -
5 | Resident Room PC - USB Extension Kit to Table | Crestron | USB-EXT-2 KIT | 0 | 1 | 0
6 | Cable TV Receiver [In Rack] | OFE | OFE | - | 1 | -
7 | HDMI Switch - [Cable TV to TX Switch] | Crestron | HD-MD4X1-4KZ-E | 0 | 1 | 0
Control Equipment - Processing
1 | Control Processor [Lutron Lighting and Shade Control to Cisco] | Crestron | CP4N | 0 | 1 | 0
Control Equipment - User Interfaces
1 | Cisco Room Navigator-Table Stand, First Light (White) | Cisco | CS-T10-TS-L-K9 | 0 | 1 | 0
Audio Equipment - Microphones
1 | Ceiling Mounted Array Microphone | Sennhesier | TeamConnect Ceiling 2 | 0 | 2 | 0
2 | Ceiling Mounted Array Microphone - Mounting Accessories | Sennhesier | As Required | 0 | 2 | 0
3 | Wireless Microphone System - Four Channel Receiver | Shure | ULXD4Q | 0 | 1 | 0
4 | Wireless Microphone System - Surface Mount Wideband Antenna | Shure | UA864 | 0 | 2 | 0
5 | Wireless Microphone System - Antenna Splitters, Amps, Etc | Shure | As Required | 0 | 1 | 0
6 | Wireless Microphone System - Wireless Handheld with Capsule | Shure | ULXD2/B87A | 0 | 2 | 0
7 | Wireless Microphone System - Wireless Bodypack | Shure | ULXD1 | 0 | 2 | 0
8 | Wireless Microphone System - Earworn Mic | Shure | MX153 | 0 | 2 | 0
9 | Wireless Microphone System - Lavalier Mic | Shure | WL185 | 0 | 2 | 0
10 | Wireless Microphone System - Lithium-Ion Battery for Wireless Mics | Shure | SB900A | 0 | 4 | 0
11 | Wireless Microphone System - Dock Networked Charging Station | Shure | SBC220US + Power Supply | 0 | 2 | 0
Audio Equipment - Processing / Amplification / Control
1 | Audio DSP with USB Interface | QSC | Core 24f | 0 | 1 | 0
2 | 2 channel 70V Amplifier | QSC | SPA4-100 | 0 | 1 | 0
Audio Equipment - Speakers and Output
1 | REUSE EXISTING IN-CEILING SPEAKERS | Existing to Reuse - Tannoy | Existing to Reuse - Tannoy | - | - | -
Video Conference Equipment
1 | Cisco Room Kit EQ | Cisco | CS-CODEC-EQ-K9 | 0 | 1 | 0
2 | Cisco Room Kit EQ - Rack Mount | Cisco | CS-CODEC-EQ-RCK | 0 | 1 | 0
3 | Pan-Tilt-Zoom 4K 20x camera [Front Wall + Opposite White Board] | Cisco | CS-CAM-PTZ4K | 0 | 2 | 0
4 | PTZ Camera - Wall Mount | Sound Control | RCM-UNI | 0 | 2 | 0
5 | PTZ Camera - Signal Extender | Sound Control | RC5-CW4 | 0 | 2 | 0
Video Production Equipment
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Network Equipment
1 | PoE++ Network Switch | By AV Contractor | As Required | 0 | 1 | 0
Rack / Cabinet / Ventilation / Power Equipment
1 | Floor Standing Full Height Equipment Rack | Middle Atlantic | BGR-4527 | 0 | 1 | 0
2 | Fan Top | Middle Atlantic | BGR-276FT | 0 | 1 | 0
3 | Vertical PDU - L5-20R - IP Managed | As Required | As Required | 0 | 1 | 0
4 | Misc Rack Shelves and Related | Middle Atlantic | As Required | 0 | 1 | 0
Furniture / Furniture Interation Equipment
1 | AAP Plates for Existing Table Hatches | As Required | As Required | 0 | 1 | 0
2 | Plugs for Existing Table Mic Holes | Clock | Custom CRM Hole Plugs Painted Black | 0 | 10 | 0
Cable Adapter Ring
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Specialty Licensing Packages
1 | 12 Month Premier Service Contract - All Cisco Equipment | Cisco | As Required | 0 | 1 | 0
2 | Cisco Integrators Licence for Audio | Cisco | As Required | 0 | 1 | 0
Floor / Wall Input Plates / Inserts
1 | Floorbox Passthrough Plate with RJ45 | By AV Contractor | As Required | 0 | 1 | 0
IP Support Camera Equipment
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Miscellaneous
1 | Allowance for items including but not limited to Field Cables/ Interconnecting Wiring/ Patch Cables/ Connectors/ Converters/ Adapters/ POE Injectors/ Accessories/ Mounting Hardware/ and Miscellaneous. | By AV Contractor | Custom | 0 | 1 | 0
2 | Connectivity to Lighting and Shade Controls | By AV Contractor | Custom | 0 | 1 | 0
Specialty Commissioning
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
COST SUMMARY
|  |  |  | EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | TAXES ON EQUIPMENT + NON-EQUIPMENT |  | EXEMPT
NON-EQUIPMENT COSTS
|  |  |  | System Engineering / Shop Drawings |  | 0
|  |  |  | Control System Programming |  | 0
|  |  |  | Audio DSP Programming |  | 0
|  |  |  | Pre-Install/ Fabrication/Staging |  | 0
|  |  |  | CWA Union Field Installation/Supervision |  | 0
|  |  |  | Close-Out & On-site Training |  | 0
|  |  |  | Freight/G&A |  | 0
|  |  |  | NON-EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | SYSTEM TOTAL |  | 0
Item | Description | Manufacturer | Unit | Unit Cost | Qty. | Ext. Cost
Electrical Installation for AV Equipment
1 | Provide 120V power, data/AV wiring devices, backboxes, and raceway for all room AV equipment in accordance with construction documents. Refer to electrical drawings and specifications. Lump sum shall include all necessary materials and labor. | Approved per Division 26 specifications. | Lump Sum | 0 | 1 | 0
Lighting Controls
2 | Provide and install new lighting controls in accordance with construction documents. Provide all components and wiring to achieve control intent. Provide progamming, startup services, commissioning services, inspections, and (5) year warranty coverage with service agreement. | Approved MFR per spec section 26 05 33. | Lump Sum | 0 | 1 | 0
COST SUMMARY
|  |  |  | ELECTRICAL SUB-TOTAL |  | 0
|  |  |  | TAXES |  | EXEMPT
ADDITIONAL COSTS
|  |  |  | Contingency |  | 0
|  |  |  | ELECTRICAL TOTAL |  | 0
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com

## ConfB
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
Conference Room B
For Bid
Item | Description | Manufacturer | Model | Unit Cost | Qty. | Ext. Cost
Display Devices and Mounting Equipment
1 | 80" 4K LED Backlit Flat Panel Display [REMOUNT EXISTING DISPLAYS] | Existing to Relocate - Sharp | Existing to Relocate - LC80LE650U | - | 2 | -
2 | Surface Mount [REUSE EXISTING] | Existing to Reuse - Chief | Existing to Reuse - Chief | - | 2 | -
Media Input / Routing / Processing Equipment
1 | Codec Connection Extension to Table Kit [HDMI Only - BYOM Mode at Resident PC] | SCT | RTK Plus | 0 | 1 | 0
2 | DM Lite HDMI Transmitter [Codec to Display] | Crestron | HD-TXC-4KZ-101 | 0 | 2 | 0
3 | DM Lite HDMI Receiver [Codec to Display] | Crestron | HD-RXC-4KZ-101 | 0 | 2 | 0
4 | Resident Room PC with Wireless KB . Mouse [In Rack - Connect to Codec via USB-C] | OFE | OFE | - | 1 | -
5 | Resident Room PC - USB Extension Kit to Table | Crestron | USB-EXT-2 KIT | 0 | 1 | 0
Control Equipment - Processing
1 | Control Processor [Lutron Lighting and Shade Control to Cisco] | Crestron | CP4N | 0 | 1 | 0
Control Equipment - User Interfaces
1 | Cisco Room Navigator-Table Stand, First Light (White) | Included | Included | - | 1 | -
Audio Equipment - Microphones
1 | Ceiling Mounted Array Microphone | Sennhesier | TeamConnect Ceiling 2 | 0 | 2 | 0
2 | Ceiling Mounted Array Microphone - Mounting Accessories | Sennhesier | As Required | 0 | 2 | 0
Audio Equipment - Processing / Amplification / Control
1 | Audio DSP with USB Interface | QSC | Core 24f | 0 | 1 | 0
2 | 2 channel 70V Amplifier | QSC | SPA4-100 | 0 | 1 | 0
Audio Equipment - Speakers and Output
1 | REUSE EXISTING IN-CEILING SPEAKERS | Existing to Reuse - Tannoy | Existing to Reuse - Tannoy | - | - | -
Video Conference Equipment
1 | Cisco Room Kit EQ, Quad Cam, First Light | Cisco | CS-KIT-EQ-K9 | 0 | 1 | 0
2 | Cisco Room Kit EQ - Rack Mount | Cisco | CS-CODEC-EQ-RCK | 0 | 1 | 0
3 | Wall Mount Bracket (Carbon Black) for Quad Camera | Included | Included | - | 1 | -
4 | Cable Cover for Quad Camera | Cisco | CS-QCAM-CAB-COV | 0 | 1 | 0
5 | Quad Camera - Extension Kit | SCT | RC8-CQC | 0 | 1 | 0
Video Production Equipment
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Network Equipment
1 | PoE++ Network Switch | By AV Contractor | As Required | 0 | 1 | 0
Rack / Cabinet / Ventilation / Power Equipment
1 | Floor Standing Full Height Equipment Rack | Middle Atlantic | BGR-4527 | 0 | 1 | 0
2 | Fan Top | Middle Atlantic | BGR-276FT | 0 | 1 | 0
3 | Vertical PDU - L5-20R - IP Managed | By AV Contractor | As Required | 0 | 1 | 0
4 | Misc Rack Shelves and Related | Middle Atlantic | As Required | 0 | 1 | 0
Furniture / Furniture Interation Equipment
1 | AAP Plates for Existing Table Hatches | By AV Contractor | As Required | 0 | 1 | 0
2 | Plugs for Existing Table Mic Holes | Clock | Custom CRM Hole Plugs Painted Black | 0 | 10 | 0
Cable Adapter Ring
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Specialty Licensing Packages
1 | 12 Month Premier Service Contract - All Cisco Equipment | Cisco | As Required | 0 | 1 | 0
2 | Cisco Integrators Licence for Audio | Cisco | As Required | 0 | 1 | 0
Floor / Wall Input Plates / Inserts
1 | Floorbox Passthrough Plate with RJ45 | By AV Contractor | As Required | 0 | 1 | 0
IP Support Camera Equipment
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Miscellaneous
1 | Allowance for items including but not limited to Field Cables/ Interconnecting Wiring/ Patch Cables/ Connectors/ Converters/ Adapters/ POE Injectors/ Accessories/ Mounting Hardware/ and Miscellaneous. | By AV Contractor | Custom | 0 | 1 | 0
2 | Connectivity to Lighting and Shade Controls | By AV Contractor | Custom | 0 | 1 | 0
Specialty Commissioning
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
COST SUMMARY
|  |  |  | EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | TAXES ON EQUIPMENT + NON-EQUIPMENT |  | EXEMPT
NON-EQUIPMENT COSTS
|  |  |  | System Engineering / Shop Drawings |  | 0
|  |  |  | Control System Programming |  | 0
|  |  |  | Audio DSP Programming |  | 0
|  |  |  | Pre-Install/ Fabrication/Staging |  | 0
|  |  |  | CWA Union Field Installation/Supervision |  | 0
|  |  |  | Close-Out & On-site Training |  | 0
|  |  |  | Freight/G&A |  | 0
|  |  |  | NON-EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | SYSTEM TOTAL |  | 0
Item | Description | Manufacturer | Unit | Unit Cost | Qty. | Ext. Cost
Electrical Installation for AV Equipment
1 | Provide 120V power, data/AV wiring devices, backboxes, and raceway for all room AV equipment in accordance with construction documents. Refer to electrical drawings and specifications. Lump sum shall include all necessary materials and labor. | Approved per Division 26 specifications. | Lump Sum | 0 | 1 | 0
Lighting Controls
2 | Provide and install new lighting controls in accordance with construction documents. Provide all components and wiring to achieve control intent. Provide progamming, startup services, commissioning services, inspections, and (5) year warranty coverage with service agreement. | Approved MFR per spec section 26 05 33. | Lump Sum | 0 | 1 | 0
COST SUMMARY
|  |  |  | ELECTRICAL SUB-TOTAL |  | 0
|  |  |  | TAXES |  | EXEMPT
ADDITIONAL COSTS
|  |  |  | Contingency |  | 0
|  |  |  | ELECTRICAL TOTAL |  | 0
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com

## Training1&2
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
Training Rooms 1 and 2
For Bid
Item | Description | Manufacturer | Model | Unit Cost | Qty. | Ext. Cost
Display Devices and Mounting Equipment
1 | 85" 4K LED Backlit Flat Panel Display | Samsung | QM85C | 0 | 1 | 0
2 | Scissor Wall Mount for Flat Panel Display with Integrated In-Wall Backbox | RPV | Wallmate32 - RPWM-32BF-XMS-UNV | 0 | 1 | 0
Media Input / Routing / Processing Equipment
1 | Codec Connection Extension to Table Kit [HDMI Only - BYOM Mode at Resident PC] | SCT | RTK Plus | 0 | 1 | 0
2 | DM Lite HDMI Transmitter [Codec to Display] | Crestron | HD-TXC-4KZ-101 | 0 | 1 | 0
3 | DM Lite HDMI Receiver [Codec to Display] | Crestron | HD-RXC-4KZ-101 | 0 | 1 | 0
4 | Resident Room PC with Wireless KB . Mouse [In Rack - Connect to Codec via USB-C] | OFE | OFE | - | 1 | -
5 | Resident Room PC - USB Extension Kit to Table | Crestron | USB-EXT-2 KIT | 0 | 1 | 0
Control Equipment - Processing
1 | Control Processor [Lutron Lighting and Shade Control to Cisco] | Crestron | CP4N | 0 | 1 | 0
Control Equipment - User Interfaces
1 | Cisco Room Navigator-Table Stand, First Light (White) | Included | Included | - | 1 | -
Audio Equipment - Microphones
1 | Ceiling Mounted Array Microphone | Sennhesier | TeamConnect Ceiling 2 | 0 | 2 | 0
2 | Ceiling Mounted Array Microphone - Mounting Accessories | Sennhesier | As Required | 0 | 2 | 0
Audio Equipment - Processing / Amplification / Control
1 | Audio DSP with USB Interface | QSC | Core 24f | 0 | 1 | 0
2 | 2 channel 70V Amplifier | QSC | SPA4-100 | 0 | 1 | 0
Audio Equipment - Speakers and Output
1 | REUSE EXISTING IN-CEILING SPEAKERS | Existing to Reuse - Tannoy | Existing to Reuse - Tannoy | - | - | -
Video Conference Equipment
1 | Cisco Room Kit EQ, Quad Cam, First Light | Cisco | CS-KIT-EQ-K9 | 0 | 1 | 0
2 | Cisco Room Kit EQ - Rack Mount | Cisco | CS-CODEC-EQ-RCK | 0 | 1 | 0
3 | Wall Mount Bracket (Carbon Black) for Quad Camera | Included | Included | - | 1 | -
4 | Cable Cover for Quad Camera | Cisco | CS-QCAM-CAB-COV | 0 | 1 | 0
5 | Quad Camera - Extension Kit | SCT | RC8-CQC | 0 | 1 | 0
6 | Pan-Tilt-Zoom 4K 20x camera [Back of Room] | Cisco | CS-CAM-PTZ4K | 0 | 1 | 0
7 | PTZ Camera - Ceiling Mount | Sound Control | RCT-UNI | 0 | 1 | 0
8 | PTZ Camera - Signal Extender | Sound Control | RC5-CW4 | 0 | 1 | 0
Video Production Equipment
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Network Equipment
1 | PoE++ Network Switch | By AV Contractor | As Required | 0 | 1 | 0
Rack / Cabinet / Ventilation / Power Equipment
1 | Floor Standing Half Height Equipment Rack | Middle Atlantic | 19RU Max With Casters - As Required | 0 | 1 | 0
2 | Ventilation System | Middle Atlantic | As Required | 0 | 1 | 0
3 | Horizontal PDU - L5-20R - IP Managed | By AV Contractor | As Required | 0 | 1 | 0
4 | Misc Rack Shelves and Related | Middle Atlantic | As Required | 0 | 1 | 0
Furniture / Furniture Interation Equipment
1 | AAP Plates for Table Hatch | By AV Contractor | As Required | 0 | 1 | 0
2 | Table Hatch - Cable Cubby 700 - Black | Extron | 70-1046-02 | 0 | 1 | 0
3 | Table Hatch - AC + USB-A + USB-C Charging - Corded | Extron | 60-1891-01 | 0 | 1 | 0
Cable Adapter Ring
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Specialty Licensing Packages
1 | 12 Month Premier Service Contract - All Cisco Equipment | Cisco | As Required | 0 | 1 | 0
2 | Cisco Integrators Licence for Audio | Cisco | As Required | 0 | 1 | 0
Floor / Wall Input Plates / Inserts
1 | Floorbox Passthrough Plate with RJ45 | By AV Contractor | As Required | 0 | 1 | 0
IP Support Camera Equipment
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Miscellaneous
1 | Allowance for items including but not limited to Field Cables/ Interconnecting Wiring/ Patch Cables/ Connectors/ Converters/ Adapters/ POE Injectors/ Accessories/ Mounting Hardware/ and Miscellaneous. | By AV Contractor | Custom | 0 | 1 | 0
2 | Connectivity to Lighting and Shade Controls | By AV Contractor | Custom | 0 | 1 | 0
Specialty Commissioning
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
COST SUMMARY
|  |  |  | EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | TAXES ON EQUIPMENT + NON-EQUIPMENT |  | EXEMPT
NON-EQUIPMENT COSTS
|  |  |  | System Engineering / Shop Drawings |  | 0
|  |  |  | Control System Programming |  | 0
|  |  |  | Audio DSP Programming |  | 0
|  |  |  | Pre-Install/ Fabrication/Staging |  | 0
|  |  |  | CWA Union Field Installation/Supervision |  | 0
|  |  |  | Close-Out & On-site Training |  | 0
|  |  |  | Freight/G&A |  | 0
|  |  |  | NON-EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | SYSTEM TOTAL |  | 0
Item | Description | Manufacturer | Unit | Unit Cost | Qty. | Ext. Cost
Electrical Installation for AV Equipment
1 | Provide 120V power, data/AV wiring devices, backboxes, and raceway for all room AV equipment in accordance with construction documents. Refer to electrical drawings and specifications. Lump sum shall include all necessary materials and labor. | Approved per Division 26 specifications. | Lump Sum | 0 | 1 | 0
Lighting Controls
2 | Provide and install new lighting controls in accordance with construction documents. Provide all components and wiring to achieve control intent. Provide progamming, startup services, commissioning services, inspections, and (5) year warranty coverage with service agreement. | Approved MFR per spec section 26 05 33. | Lump Sum | 0 | 1 | 0
COST SUMMARY
|  |  |  | ELECTRICAL SUB-TOTAL |  | 0
|  |  |  | TAXES |  | EXEMPT
ADDITIONAL COSTS
|  |  |  | Contingency |  | 0
|  |  |  | ELECTRICAL TOTAL |  | 0
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com

## Auditorium
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
Auditorium
For Bid
Item | Description | Manufacturer | Model | Unit Cost | Qty. | Ext. Cost
Display Devices and Mounting Equipment
1 | Direct View 1.2mm LED Display + Power Supplies + Video Processor + Full Trim Kit (3840 x 1080 HD Resolution) and Mounts - 8x4 Array + Spares | Planar | DLP 1.2 - Refer to Planar Quote #00156227 | 0 | 1 | 0
2 | 55" 4K LED Backlit Flat Panel Display [Confidence Displays] | Samsung | QM55C | 0 | 2 | 0
3 | Ceiling Pole Structure Interface | Chief | CMA330 | 0 | 2 | 0
4 | Ceiling Pole | By AV Contractor | Custom | 0 | 2 | 0
5 | Dual Display Ceiling Mount | Chief | MCM1U | 0 | 2 | 0
Media Input / Routing / Processing Equipment
1 | DM NVX Card Chassis | Crestron | DMF-CI-8 | 0 | 2 | 0
2 | DM® Essentials 4K60 4:4:4 Transmitter for HDMI®, Wall Plate, 1-Gang (Rear Wall) | Crestron | HD-TXC-4KZ-101-1G | 0 | 1 | 0
3 | DM® Essentials 4K60 4:4:4 Receiver | Crestron | HD-RXC-4KZ-101 | 0 | 1 | 0
5 | DM® Essentials 4K60 4:4:4 Receiver, 1-Gang (Rear Wall) | Crestron | HD-RXC-4KZ-101-1G | 0 | 1 | 0
6 | DM® Essentials 4K60 4:4:4 Transmitter for HDMI | Crestron | HD-TXC-4KZ-101 | 0 | 1 | 0
7 | DM NVX® 5K 4x1 AV-over-IP Switcher with HDMI® and USB-C® Connectivity and Downmixing (Podium) | Crestron | DM-NVX-385 | 0 | 1 | 0
8 | DM NVX® 4K60 4:4:4 HDR Network AV Decoder (Confidence Monitors) | Crestron | DM-NVX-D30 | 0 | 2 | 0
9 | DM NVX® 4K60 4:4:4 HDR Network AV Encoder/Decoder Card with Downmixing and Dante® Audio | Crestron | DM-NVX-363C | 0 | 8 | 0
10 | DM NVX® 4K60 4:4:4 HDR Network AV Decoder Card | Crestron | DM-NVX-D30C | 0 | 8 | 0
11 | Resident Room PC with Wireless KB . Mouse [In Rack - Connect to Codec via USB-C] | OFE | OFE | - | 1 | -
12 | Cable TV Receiver | OFE | OFE | - | 1 | 0
13 | USB Host - Modular Interface | Extron | 60-1471-12 | 0 | 1 | 0
14 | USB Device - Modular Interface | Extron | 60-1471-13 | 0 | 1 | 0
Control Equipment - Processing
1 | Compact Control Processor [Lutron Lighting and Shade Control to Cisco + Cable TV] | Crestron | CP4N | 0 | 1 | 0
2 | USB Matrix Network Controller | Extron | 42-267-01 | 0 | 1 | 0
3 | Wireless Control Panel | Crestron | TST-1080 | 0 | 1 | 0
Control Equipment - User Interfaces
1 | Cisco Room Navigator-Table Stand, First Light (White) | Cisco | CS-T10-TS-L-K9 | 0 | 1 | 0
Audio Equipment - Microphones
1 | Ceiling Mounted Array Microphone | Sennhesier | TeamConnect Ceiling 2 | 0 | 6 | 0
2 | Ceiling Mounted Array Microphone - Mounting Accessories | Sennhesier | As Required | 0 | 6 | 0
3 | Wireless Microphone System - Four Channel Receiver | Shure | ULXD4Q | 0 | 1 | 0
4 | Wireless Microphone System - Four Channel Receiver - REUSE EXISTING | Shure - REUSE EXISTING | ULXD4Q - REUSE EXISTING | - | 1 | -
5 | Wireless Microphone System - Surface Mount Wideband Antenna | Shure | UA864 | 0 | 2 | 0
6 | Wireless Microphone System - Antenna Splitters, Amps, Etc | Shure | As Required | 0 | 1 | 0
7 | Wireless Microphone System - Wireless Handheld with Capsule | Shure | ULXD2/B87A | 0 | 2 | 0
8 | Wireless Microphone System - Wireless Bodypack | Shure | ULXD1 | 0 | 2 | 0
9 | Wireless Microphone System - Earworn Mic | Shure | MX153 | 0 | 2 | 0
10 | Wireless Microphone System - Lavalier Mic | Shure | WL185 | 0 | 2 | 0
11 | Wireless Microphone System - Gooseneck | Shure | ULXD8 | 0 | 4 | 0
12 | Wireless Microphone System - Gooseneck Mic | Shure | MX412 | 0 | 4 | 0
13 | Wireless Microphone System - Lithium-Ion Battery for Wireless Mics | Shure | SB900A | 0 | 8 | 0
14 | Wireless Microphone System - Dock Networked Charging Station | Shure | SBC220US + Power Supply | 0 | 2 | 0
15 | Wireless Microphone System - Dock Networked Charging Station | Shure | SBC450US + Power Supply | 0 | 1 | 0
16 | Podium - Gooseneck Microphone with Shockmount | Shure | MX412S/C | 0 | 1 | 0
17 | Modular 4x XLR Input [INSTALL AT PODIUM] | RDL | AV-XMN4 | 0 | 1 | 0
18 | Bluetooth + I/O Wallplate - 2 Gang | QSC | unD6IO-BT | 0 | 1 | 0
Audio Equipment - Processing / Amplification / Control
1 | Audio DSP with USB Interface | QSC | Core 24f | 0 | 1 | 0
2 | Q-SYS Software-based Dante 64x64 Channel (32x32 Flows) License, Perpetual | QSC | SLDAN-64-P | 0 | 1 | 0
3 | 4 channel 70V Amplifier | QSC | MP-A40V | 0 | 2 | 0
Audio Equipment - Speakers and Output
1 | REUSE EXISTING IN-CEILING SPEAKERS | Existing to Reuse - Tannoy | Existing to Reuse - Tannoy | - | - | -
Video Conference Equipment
1 | Cisco Room Kit EQ | Cisco | CS-CODEC-EQ-K9 | 0 | 1 | 0
2 | Cisco Room Kit EQ - Rack Mount | Cisco | CS-CODEC-EQ-RCK | 0 | 1 | 0
3 | Automated Camera Tracking - Server | 1Beyond / Crestron | Automate VX Pro - IV-SAM-VX2-P | 0 | 1 | 0
4 | Automated Camera Tracking - PTZ Camera with NDI | 1Beyond / Crestron | AutoTracker I20 -IV-CAM-I20-W | 0 | 6 | 0
5 | PTZ Camera - Wall / Ceiling Mount | By AV Contractor | As Required | 0 | 6 | 0
Video Production Equipment
1 | Production Camera Controller - VISCA | BirdDog | PTZ Keyboard | 0 | 1 | 0
2 | SDI Multiviewer | Decimator | DMON-12S | 0 | 1 | 0
Network Equipment
1 | PoE++ Network Switch | By AV Contractor | As Required | 0 | 1 | 0
Rack / Cabinet / Ventilation / Power Equipment
1 | Floor Standing Full Height Equipment Rack | Middle Atlantic | BGR-4527 | 0 | 1 | 0
2 | Fan Top | Middle Atlantic | BGR-276FT | 0 | 1 | 0
3 | Vertical PDU - L5-20R - IP Managed | As Required | As Required | 0 | 1 | 0
4 | Misc Rack Shelves and Related | Middle Atlantic | As Required | 0 | 1 | 0
Furniture / Furniture Interation Equipment
1 | AAP Plates for Existing Table Hatches [Podium] | As Required | As Required | 0 | 1 | 0
Cable Adapter Ring
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Specialty Licensing Packages
1 | 12 Month Premier Service Contract - All Cisco Equipment | Cisco | As Required | 0 | 1 | 0
2 | Cisco Integrators Licence for Audio | Cisco | As Required | 0 | 1 | 0
Floor / Wall Input Plates / Inserts
1 | Floorbox Passthrough Plate with RJ45 | By AV Contractor | As Required | 0 | 2 | 0
2 | Wallbox Passthrough Plate with RJ45 + SDI | By AV Contractor | As Required | 0 | 1 | 0
IP Support Camera Equipment
1 | Not Applicable this Room Type | N/A | N/A | - | 1 | -
Miscellaneous
1 | Allowance for items including but not limited to Field Cables/ Interconnecting Wiring/ Patch Cables/ Connectors/ Converters/ Adapters/ POE Injectors/ Accessories/ Mounting Hardware/ and Miscellaneous. | By AV Contractor | Custom | 0 | 1 | 0
2 | Partition Sensor | Crestron | GLS-PART-CN | 0 | 1 | 0
3 | PoE Switch | Crestron | As Required | 0 | 1 | 0
4 | Connectivity to Lighting Controls | By AV Contractor | Custom | 0 | 1 | 0
Specialty Commissioning
1 | 1Beyond Commissioning | Crestron | IV-PROSERVICE-1B | 0 | 1 | 0
COST SUMMARY
|  |  |  | EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | TAXES ON EQUIPMENT + NON-EQUIPMENT |  | EXEMPT
NON-EQUIPMENT COSTS
|  |  |  | System Engineering / Shop Drawings |  | 0
|  |  |  | Control System Programming |  | 0
|  |  |  | Audio DSP Programming |  | 0
|  |  |  | Pre-Install/ Fabrication/Staging |  | 0
|  |  |  | CWA Union Field Installation/Supervision |  | 0
|  |  |  | Close-Out & On-site Training |  | 0
|  |  |  | Freight/G&A |  | 0
|  |  |  | NON-EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | SYSTEM TOTAL |  | 0
Item | Description | Manufacturer | Unit | Unit Cost | Qty. | Ext. Cost
Electrical Installation for AV Equipment
1 | Provide 120V power, data/AV wiring devices, backboxes, and raceway for all room AV equipment in accordance with construction documents. Refer to electrical drawings and specifications. Lump sum shall include all necessary materials and labor. | Approved per Division 26 specifications. | Lump Sum | 0 | 1 | 0
Lighting Controls
2 | Provide and install new lighting controls in accordance with construction documents. Provide all components and wiring to achieve control intent. Provide progamming, startup services, commissioning services, inspections, and (5) year warranty coverage with service agreement. | Approved MFR per spec section 26 05 33. | Lump Sum | 0 | 1 | 0
COST SUMMARY
|  |  |  | ELECTRICAL SUB-TOTAL |  | 0
|  |  |  | TAXES |  | EXEMPT
ADDITIONAL COSTS
|  |  |  | Contingency |  | 0
|  |  |  | ELECTRICAL TOTAL |  | 0
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com

## ADD-ALT Auditorium-LED
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
ADD ALTERNATE - Auditorium - 0.9mm LED
For Bid
Item | Description | Manufacturer | Model | Unit Cost | Qty. | Ext. Cost
Display Devices and Mounting Equipment
2 | Direct View 0.9mm LED Display + Power Supplies + Video Processor + Full Trim Kit (5120 x 1440 HD Resolution) and Mounts - 8x4 Array + Spares | Planar | DLP 0.9 - Refer to Planar Quote #00156228 | 0 | 1 | 0
COST SUMMARY
|  |  |  | EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | TAXES ON EQUIPMENT + NON-EQUIPMENT |  | EXEMPT
NON-EQUIPMENT COSTS
|  |  |  | System Engineering / Shop Drawings |  | 0
|  |  |  | Control System Programming |  | 0
|  |  |  | Audio DSP Programming |  | 0
|  |  |  | Pre-Install/ Fabrication/Staging |  | 0
|  |  |  | CWA Union Field Installation/Supervision |  | 0
|  |  |  | Close-Out & On-site Training |  | 0
|  |  |  | Freight/G&A |  | 0
|  |  |  | NON-EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | SYSTEM TOTAL |  | 0
Item | Description | Manufacturer | Unit | Unit Cost | Qty. | Ext. Cost
Electrical Installation for AV Equipment
1 | Provide 120V power, data/AV wiring devices, backboxes, and raceway for Auditorium LED display array. Refer to electrical drawings and specifications. Lump sum shall include all necessary materials and labor. | Approved per Division 26 specifications. | Lump Sum | 0 | 1 | 0
COST SUMMARY
|  |  |  | ELECTRICAL SUB-TOTAL |  | 0
|  |  |  | TAXES |  | EXEMPT
ADDITIONAL COSTS
|  |  |  | Contingency |  | 0
|  |  |  | ELECTRICAL TOTAL |  | 0
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com

## ADD-ALT TV
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
ADD ALTERNATE - DISPLAYS, Conference Room B
For Bid
Item | Description | Manufacturer | Model | Unit Cost | Qty. | Ext. Cost
Display Devices and Mounting Equipment
1 | 85" 4K LED Backlit Flat Panel Display | Samsung | QM85C | 0 | 1 | 0
2 | Articulating Wall Mount | Chief | TS525TU | 0 | 1 | 0
COST SUMMARY
|  |  |  | EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | TAXES ON EQUIPMENT + NON-EQUIPMENT |  | EXEMPT
NON-EQUIPMENT COSTS
|  |  |  | System Engineering / Shop Drawings |  | 0
|  |  |  | Control System Programming |  | 0
|  |  |  | Audio DSP Programming |  | 0
|  |  |  | Pre-Install/ Fabrication/Staging |  | 0
|  |  |  | CWA Union Field Installation/Supervision |  | 0
|  |  |  | Close-Out & On-site Training |  | 0
|  |  |  | Freight/G&A |  | 0
|  |  |  | NON-EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | SYSTEM TOTAL |  | 0
Item | Description | Manufacturer | Unit | Unit Cost | Qty. | Ext. Cost
Electrical Installation for AV Equipment
1 | Provide 120V power, data/AV wiring devices, backboxes, and raceway for Conf Room B LED display. Refer to electrical drawings and specifications. Lump sum shall include all necessary materials and labor. | Approved per Division 26 specifications. | Lump Sum | 0 | 1 | 0
COST SUMMARY
|  |  |  | ELECTRICAL SUB-TOTAL |  | 0
|  |  |  | TAXES |  | EXEMPT
ADDITIONAL COSTS
|  |  |  | Contingency |  | 0
|  |  |  | ELECTRICAL TOTAL |  | 0
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com

## ADD-ALT SHADES
NYSIF
199 Church Street - Floor 15
New York, NY
Equipment List / Bid Form
03.24.2026
ADD ALTERNATE - Shades, Auditorium
For Bid
Item | Description | Manufacturer | Model | Unit Cost | Qty. | Ext. Cost
Miscellaneous
1 | Connectivity to Shade Controls | By AV Contractor | Custom | 0 | 1 | 0
COST SUMMARY
|  |  |  | EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | TAXES ON EQUIPMENT + NON-EQUIPMENT |  | EXEMPT
NON-EQUIPMENT COSTS
|  |  |  | System Engineering / Shop Drawings |  | 0
|  |  |  | Control System Programming |  | 0
|  |  |  | Audio DSP Programming |  | 0
|  |  |  | Pre-Install/ Fabrication/Staging |  | 0
|  |  |  | CWA Union Field Installation/Supervision |  | 0
|  |  |  | Close-Out & On-site Training |  | 0
|  |  |  | Freight/G&A |  | 0
|  |  |  | NON-EQUIPMENT SUB-TOTAL |  | 0
|  |  |  | SYSTEM TOTAL |  | 0
Item | Description | Manufacturer | Unit | Unit Cost | Qty. | Ext. Cost
Electrical Installation for Shades
1 | Replace broken shade motor in Auditorium. Re-connect to existing switch, provide all necessary wiring. Replace/re-wire switch for shade control in Conference Room B. Polarity (up/down) is reversed. | Approved MFR per spec section 26 05 19. | Lump Sum | 0 | 1 | 0
COST SUMMARY
|  |  |  | ELECTRICAL SUB-TOTAL |  | 0
|  |  |  | TAXES |  | EXEMPT
ADDITIONAL COSTS
|  |  |  | Contingency |  | 0
|  |  |  | ELECTRICAL TOTAL |  | 0
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com
& Associates, Inc.
404 Fifth Avenue
New York, New York 10018
Tel:212.370.1776
Fax:212.370.1736
www.ceramiassociates.com